| SERVICE REPORT / INVOICE Professional Security & Network Solutions | 466 Ang Mo Kio Avenue 10 #13-1030 Singapore 560466 E-Mail: biz@simplyengtech.com Tel: +65 8498 1876 Website: https://www.simplyengtech.com/ |
| --- | --- |
| TO: MCST3528 – The Metropolitan The Metropolitan 8 Alexandra View #01-08 Singapore 158747 | INVOICE DATE; 29-May-26. INVOICE #; SE-26-214. |

Service Report – SE-26-214 | Date: 29 May 2026

Service Report 1 of 2 – Wi-Fi Camera at Entrance

Issue:

- Wi-Fi camera at main entrance was not functioning and unable to connect to the network

Action Taken:

- Conducted on-site testing of the Wi-Fi camera at the main entrance. Performed diagnostics over approximately 3 hours to identify the root cause of the connectivity failure

- Found that the issue was caused by a faulty access point connection. Replaced the access point and reconfigured the camera VLAN settings

- Camera was restored to full working condition and confirmed operational after reconfiguration

Recommendation:

- Monitor camera regularly and advise if any recurrence of connectivity issues is observed

Service Report 2 of 2 – Guardhouse 2nd Display Monitor

Issue:

- Guardhouse 2nd display monitor was not working and could not be detected by the PC

Action Taken:

- Inspected the HDMI cable and found it damaged due to aging — the plastic moulding had dislodged and the pins were loose, which may have caused a short circuit

- Tested the PC with 3 monitors — the 2nd display was not detected. Suspected the guardhouse PC HDMI port or graphics card may be damaged

Recommendation:

- Proposed to MCST to replace the guardhouse PC to confirm whether the HDMI port or graphics card is faulty

- Please contact us for a formal quotation on the PC replacement and any follow-up works required

Equipment, Labour & Materials

| No. | Description of Works | Qty | Amount |
| --- | --- | --- | --- |
| 1 | Service & Labour – Troubleshooting of Wi-Fi camera at entrance (access point replacement & VLAN reconfiguration) and guardhouse 2nd monitor display issue (5 hrs) | 1 lot | $ 400 |
| 2 | Transport charge to site | 1 run | $ 60 |
| TOTAL |  |  | S$ 460.00 |

Remarks:

PayNow to UEN 53484821D    (SIMPLY ENGINEERING)

The supplied items will be covered by 1-year manufacturer’s warranty.

| Lucus Lim Hp : 84981876 Date: 29-May-26 | Acknowledged By: Name & Designation Date |  |  |
| --- | --- | --- | --- |

We look forward to supporting your team with a reliable and efficient network solution.

SIMPLY ENGINEERING